| Test Report Number |  |  |
| --- | --- | --- |
| Drying Rate of Fabrics: Heated plate |  |  |
| Test Method: | AATCC TM201-2012(2014)e3 |  |
| Test Condition: | Temperature of hotplate 37 ± 1°C with fabric back side test |  |
|  | Air speed: 1.5 ± 0.5 m/s (horizontal air flow over the surface of the fabric) |  |
|  | Volume of water used in the test: 0.2 mL |  |
|  | Average drying rate (mL/h): |  |

| Sample | Start time (s) | End time (s) | Drying rate (mL/h) | Average drying rate (mL/h) |
| --- | --- | --- | --- | --- |
| #1 |  |  |  |  |
| #2 |  |  |  |  |
| #3 |  |  |  |  |

| Sample | Start time (s) | End time (s) | Drying rate (mL/h) | Average drying rate (mL/h) |
| --- | --- | --- | --- | --- |
| #1 |  |  |  |  |
| #2 |  |  |  |  |
| #3 |  |  |  |  |

| Sample | Start time (s) | End time (s) | Drying rate (mL/h) | Average drying rate (mL/h) |
| --- | --- | --- | --- | --- |
| #1 |  |  |  |  |
| #2 |  |  |  |  |
| #3 |  |  |  |  |

Remark:

R = V/Drying Time

R = drying rate in mL/h

V = volume of water used in the test, in mL

Drying Time = End time – Start time, in hours

Equipment No: SFL-NGB-EQP-