## DStoWashing-F
Test Report Number 报告编号: | [29 empty] | Test Report Number 报告编号: | [6 empty] | 87.405.26.15701.01
Dimensional Stability to Washing 尺寸稳定性-水洗
Dimensional Stability to Washing/ Dry-cleaning尺寸稳定性-水洗/干洗 | [29 empty] | DIN EN ISO 5077:2008/ DIN EN ISO 3759:2011/DIN EN ISO 6330:2022
[30 empty] | Miele: Machine wash at: |  |  |  |  | 30 |  |  | °C with |  | 77％ECE(A)+3%TAED+20% sodium perborate | [7 empty] | ,using
Procedure No: | [5 empty] | Using horizontal axis, front-loading type machine: | [18 empty] | Machine wash at |  |  |  |  | domestic washing machine, | [5 empty] | Minimum iron procedure | [8 empty] | ,with 2.0kg total dry ballast,
3%TAED+20% sodium perborate, | [12 empty] | / | iron. | [15 empty] | Flat Dry | [5 empty] | , | / Iron |  |  | . | -
[30 empty] | Cycle： | 900revs | [13 empty] | (cotton<=±5%, synthetics <=±3%;)
[30 empty] | Sample 样品 |  |  |  | A
Lengthwise经向(%)
Test No. |  |  | ( | ) |  |  |  | ( |  | ), | Machine wash at | [9 empty] | °F with 4lb loading， | [6 empty] | cycle， |  | Widthwise纬向(%)
[30 empty] | Sample样品 |  | A | [9 empty] | Sample样品
Sample样品 | [13 empty] | Sample样品 | [16 empty] | Original |  | After | 1 | wash |  | Shrinkage |  | Average |  |  |  |  | Original | After | wash | Shrinkage | Average
Sample样品 | [13 empty] | Sample样品 | [16 empty] | (cm) |  | (cm) |  |  |  | (%) |  | (%) |  |  |  |  | (cm) | (cm) |  | (%) | (%)
|  | Original |  | After |  | wash | Shrinkage |  |  |  | Average | [5 empty] | Original |  |  | After |  | wash |  | Shrinkage |  |  | Average |  |  | Warp1 | [11 empty] | Warp1
|  | (cm) |  | (cm) |  |  | (%) |  |  |  | (%) | [5 empty] | (cm) |  |  | (cm) |  |  |  | (%) |  |  | (%) |  |  | Warp2 | [11 empty] | Warp2
Warp1 | [13 empty] | Warp1 | [15 empty] | Warp3 | [11 empty] | Warp3
Warp2 | [13 empty] | Warp2 | [15 empty] | Weft1 | [11 empty] | Weft1
Warp3 | [13 empty] | Warp3 | [15 empty] | Weft2 | [11 empty] | Weft2
Weft1 | [13 empty] | Weft1 | [15 empty] | Weft3 | [11 empty] | Weft3
Weft2 | [13 empty] | Weft2 | [15 empty] | Remark 备注（+）Means Extension 伸长 | [12 empty] | （-）Means Shrinkage
Weft3 | [13 empty] | Weft3
|  | (cm) |  | (cm) |  |  | (%) |  |  |  | (%) | [5 empty] | (cm) |  |  | (cm) |  |  |  | (%) |  |  | (%) |  |  | Sample样品 | [11 empty] | Sample样品
Warp1 | [13 empty] | Warp1 | [16 empty] | Original |  | After |  | wash |  | Shrinkage |  | Average |  |  |  |  | Original | After | wash | Shrinkage | Average
Warp2 | [13 empty] | Warp2 | [16 empty] | (cm) |  | (cm) |  |  |  | (%) |  | (%) |  |  |  |  | (cm) | (cm) |  | (%) | (%)
Warp3 | [13 empty] | Warp3 | [15 empty] | Warp1 | [11 empty] | Warp1
Weft1 | [13 empty] | Weft1 | [15 empty] | Warp2 | [11 empty] | Warp2
Weft2 | [13 empty] | Weft2 | [15 empty] | Warp3 | [11 empty] | Warp3
Weft3 | [13 empty] | Weft3 | [15 empty] | Weft1 | [11 empty] | Weft1
Remark 备注（+）Means Extension 伸长 | [15 empty] | （-）Means Shrinkage | [13 empty] | Weft2 | [11 empty] | Weft2
| iron. | [28 empty] | Weft3 | [11 empty] | Weft3
[30 empty] | Remark 备注（+）Means Extension 伸长 | [12 empty] | （-）Means Shrinkage
Hand wash at |  |  |  |  | °C/F | [5 empty] | dry. | [18 empty] | Equipment No(设备号)：SFL-NGB-EQP-
Procedure No: | [5 empty] | ,Machine wash at | [8 empty] | °C with AATCC 1993 Standard Reference Detergent
|  |  | cycle, |  |  |  |  | dry. | [20 empty] | Average
(%)
Immerse samples for 1h at | [8 empty] | °C， | [7 empty] | dry，with 0.5g/l neutral nonionic wetting agent.
Test No. |  |  |  | ,Machine wash at | [7 empty] | °C with 77％ECE(A)+3%TAED+20% sodium perborate /ECE(B)
detergent, | [5 empty] | cycle, | [6 empty] | dry.
Miele: Machine wash at | [7 empty] | °C with | [5 empty] | detergent,using domestic washing machine,Cotton
procedure/Minimum iron procedure/Delicates procedure/Wollens procedure, with 2.0kg total dry
ballast , |  |  |  |  | dry, |  |  | iron.
For Esprit: Machine wash at | [9 empty] | °C with Ariel Color Washing Powder/Liquid detergent,using domestic | [18 empty] | Average
washing machine,Normal cycle/Gentle cycle/Wool cycle, | [21 empty] | dry, |  |  |  | iron. hand wash at |  |  | (%)
|  |  | dry, |  | iron.
Special Care Instruction
Dry-cleaning: | [16 empty] | materials
Sample样品 | [17 empty] | Sample样品
|  | Original |  |  | After Wash |  |  |  | Shrinkage |  |  |  |  | Average |  |  |  |  | Original |  |  |  | After Wash |  |  |  | Shrinkage
|  | (cm) |  |  | (cm) |  |  |  | (%) |  |  |  |  | (%) |  |  |  |  | (cm) |  |  |  | (cm) |  |  |  | (%)
Warp1
Warp2
Warp3
Weft1
Weft2
Weft3
Sample样品 | [17 empty] | Sample样品
|  | Original |  |  | After Wash |  |  |  | Shrinkage |  |  |  |  | Average |  |  |  |  | Original |  |  |  | After Wash |  |  |  | Shrinkage
|  | (cm) |  |  | (cm) |  |  |  | (%) |  |  |  |  | (%) |  |  |  |  | (cm) |  |  |  | (cm) |  |  |  | (%)
Warp1
Warp2
Warp3
Weft1
Weft2
Weft3
Remark备注: (+) Means Extension伸长 (-) Means Shrinkage收缩
Equipment No(设备号)：SFL-NGB-EQP-

## Spirality
Test Report Number 报告编号: | [5 empty] | 87.405.26.15701.01
Determination of spirality after laundering 洗后的扭曲测定
ISO 16322-3:2021 | [9 empty] | Part 3:woven and knitted garments
After | 1 | wash
Method A: Garment,within-panel: Normal procedure 方法A：服装衣片法：常规评定法
Sample 样品 |  |  |  | AA' (cm) | [5 empty] | A'B(cm) |  |  |  |  | X(%)
X=100´(AA’/A’B)
Method A: Garment,within-panel: Alternative procedure 1 方法A：服装衣片法：可选评定法1
Sample 样品 |  |  |  | AC (cm) | [5 empty] | BD(cm) |  |  |  |  | X(%)
X=100×[2(AC-BD)/(AC+BD)]
Method A: Garment,within-panel: Alternative procedure 2 方法A：服装衣片法：可选评定法2
Sample 样品 |  |  |  | AA' (cm) |  |  | DD' (cm) |  |  |  | AB(cm) |  | CD(cm) |  |  | X(%)
X=100´[(AA’+DD’)/(AB+CD)]
Method B: Garment,side-panel 方法B：服装侧缝法(洗前如存在扭曲,同样方法测量,洗后扭曲包含洗前扭曲)
Sample 样品 |  |  |  | AA‘ (cm) | [5 empty] | AB(cm) |  |  |  |  | X(%)
A
X=100´(AA’/AB)
Miele: Machine wash at: |  |  |  |  | 30 | °C with |  |  | 77％ECE(A)+3%TAED+20% sodium perborate
using domestic washing machine, | [6 empty] | Minimum iron procedure | [5 empty] | , with 4.0kg total dry ballast,
Flat Dry | [6 empty] | , | / Iron |  |  |  |  | , | 900r |  | .
-
|  |  | Method A: Garment,within-panel | [8 empty] | Method B: Garment,side-panel
Method A: Garment,within-panel | [6 empty] | Method A: Garment,within-panel | [7 empty] | Method B: Garment,side-panel
| Normal procedure | [7 empty] | Alternative procedure
Equipment No(设备号)：SFL-NGB-EQP-
A
D
B
C
A’
D’
A
B
Y
Z
A’
B
A’
A
B
A
Z
Y
50cm
7.5cm
A
B
C
D
25cm
25cm
7.5cm
A
B

## CFtoSaliva&Sweat
Test Report Number 报告编号: |  | 87.405.26.15701.01
Colour Fastness to Saliva & Sweat 耐唾液和汗渍色牢度
DIN 53160:2023 |  |  |  | √ | Saliva | √ | Sweat
Sample样品 |  | A
Saliva Staining on filter paper
Fluorescence under UV
light (when ≥4-5)
Sweat Staining on filter paper
Fluorescence under UV
light (when ≥4-5)
Remarks: Grey Scale Rating is based on the 5-step scale of 1 to 5, | [5 empty] | where 1 is bad and 5 is good.
Fluorescence assessment is only needed when the result is no less than 4-5. | N:no；Y:yes
Equipment No设备号: SFL-NGB-EQP-
Colour Fastness to Saliva & Sweat 耐唾液和汗渍色牢度
Sample
Comment 评语: |  |  |  Resist to sweat & saliva
 Resist to sweat but not resist to saliva
 Resist to saliva but not resist to sweat
 Not resist to both saliva and sweat
Sample
Comment 评语: |  |  |  Resist to sweat & saliva
 Resist to sweat but not resist to saliva
 Resist to saliva but not resist to sweat
 Not resist to both saliva and sweat
Sample
Comment 评语: |  |  |  Resist to sweat & saliva
 Resist to sweat but not resist to saliva
 Resist to saliva but not resist to sweat
 Not resist to both saliva and sweat
Sample
Comment 评语: |  |  |  Resist to sweat & saliva
 Resist to sweat but not resist to saliva
 Resist to saliva but not resist to sweat
 Not resist to both saliva and sweat

## CFtoWRLS
Test Report Number 报告编号: |  |  | 87.405.26.15701.01
Colour Fastness to Washing 耐洗色牢度
DIN EN ISO 105-C06:2010
Test No.: | ref A2S | ,Machine wash at |  | 30 | ℃ with 4g/l ‘ECE(B)’ detergent and
1g/l Sodium perborate solution and |  |  |  | / | % available chlorine with | 0 | steel balls.
Sample样品 |  |  | A
Change in shade
Staining on Acetate
Cotton
Polyamide(Nylon)
Polyester
Acrylic
Wool
Cross staining
Equipment No设备号: SFL-NGB-EQP-
Colour Fastness to Rubbing耐摩擦色牢度
DIN EN ISO 105-X12:2016
Sample样品 |  |  | A
Dry staining
Wet staining
Equipment No设备号: SFL-NGB-EQP-
Colour Fastness to Light耐光照色牢度
Sample 样品
After
Grade(B.S.)
Equipment No设备号: SFL-NGB-EQP-
Colour Fastness to Sea Water 耐海水色牢度
Sample
Change in shade
Staining on Acetate
Cotton
Polyamide(Nylon)
Polyester/Silk
Acrylic/Viscose
Wool
Cross staining
Equipment No设备号: SFL-NGB-EQP-