## Torque&Tension-EN 71
Test Report Number 报告编号: |  | 87.405.26.13578.01
Detection of sharp points,sharp edges,or small part
Sample | Small part |  |  |  | Sharp edges |  |  |  | Sharp point
A | (EN 71-1:2024+a1:2018&8.2) |  |  |  | (EN 71-1:2024+a1:2018&8.11) |  |  |  | (EN 71-1:2024+a1:2018&8.12)
As received
Torque test(EN 71-1:2024+a1:2018&8.3)
Torque test(EN 71-1:2024+a1:2018&8.4)
Remarks: N/A=Not Applicable 2.P=pass 3.F=fail
Refer to below for torque test and tension test performance
Torque test (EN 71-1:2024+a1:2018&8.3)
Attachment shall not detach under a torque force of _____in-lb held for a duration of 10 sec
Attachment Strength(in-lb)
Sample | #1 | #2 | #3 | #4 |  | #5 | #6 | #7 |  | #8 | #9 | #10
clockwise
Counter-clockwise
Sample | #1 | #2 | #3 | #4 |  | #5 | #6 | #7 |  | #8 | #9 | #10
clockwise
Counter-clockwise
Remarks:
_______=did not detach at_____ in-lb held for the full 10 seconds
______=Twist over 180º without damaged
_____= _____in-lb reached but the component broke off and cannot be held for 10 seconds
Attachment Strength (EN 71-1:2024+a1:2018&8.4)
Attachment shall not detach under a tensile force of ______ lb held for a duration of 10 sec.
Attachment Strength(lb)
Sample | #1 |  | #2 |  |  | #3 |  | #4 |  |  | #5
Sample | #6 |  | #7 |  |  | #8 |  | #9 |  |  | #10
Sample | #11 |  | #12 |  |  | #13 |  | #14 |  |  | #15
Sample | #16 |  | #17 |  |  | #18 |  | #19 |  |  | #20
DND=did not detach at _____ lb, held for the full 10 seconds
_____=____ lb was reached but the component broke off and cannot held for 10 seconds
<_____=Broke off before reaching the ____ lb, exact value was recorded.
S.B.D.—snap break down; B.B.D.—button break down; S.T.B.—sewing thread break; F.B.—fabric break; L.B.D.—label break down; D.B.—decoration break; R.B.D.—ring break down; L.B.—label break; R.B.—ring break; D.B.D.—decoration break down;
Equipment No: SFL-NGB-EQP-