## DStoWashing
Test Report Number 报告编号: | [27 empty] | Test Report Number 报告编号: |  |  |  |  | 41055
Dimensional Stability to Washing/ Dry-cleaning尺寸稳定性-水洗/干洗 | [27 empty] | Dimensional Stability to Washing 尺寸稳定性-水洗
ISO 5077:2007 / ISO 3759:2011 / ISO 6330:2021
Procedure No: | [5 empty] | Using horizontal axis, front-loading type machine: | [15 empty] | Machine wash at | [5 empty] | Procedure No: |  |  | 3N | Using horizontal axis, front-loading type machine: Machine wash at | [9 empty] | 30
degree C with _2.0_ kg total dry mass | [10 empty] | （ | [8 empty] | + | specimen) |  |  |  | and "77%" ECE(A)+ |  |  | degree C with _2.0_ kg total dry mass( | [5 empty] | Type I (100% cotton) | [5 empty] | + specimen) and
3%TAED+20% sodium perborate, | [11 empty] | / | iron. | [14 empty] | "77%" ECE(A)+3%TAED+20% sodium perborate, | [6 empty] | Line Dry |  |  | , / iron.
[28 empty] | Sample 样品 |  |  |  | A
Test No. |  |  | ( | ) |  |  | ( |  | ), | Machine wash at | [7 empty] | °F with 4lb loading， | [7 empty] | cycle， |  | Lengthwise经向(%)
| iron. | [26 empty] | Widthwise纬向(%)
Hand wash at |  |  |  |  | °C/F |  |  |  |  | dry. | [17 empty] | Sample样品 |  | A | [5 empty] | Sample样品
[29 empty] | Original |  | After 1 Wash |  | Shrinkage | Average |  |  | Original |  | After 1 Wash |  | Shrinkage | Average
Procedure No: | [5 empty] | ,Machine wash at | [7 empty] | °C with AATCC 1993 Standard Reference Detergent | [14 empty] | (cm) |  | (cm) |  | (%) | (%) |  |  | (cm) |  | (cm) |  | (%) | (%)
|  |  | cycle, |  |  |  | dry. | [20 empty] | Warp1 | [7 empty] | Warp1
[28 empty] | Warp2 | [7 empty] | Warp2
Immerse samples for 1h at | [7 empty] | °C， | [6 empty] | dry，with 0.5g/l neutral nonionic wetting agent. | [12 empty] | Warp3 | [7 empty] | Warp3
Test No. |  |  |  | ,Machine wash at | [6 empty] | °C with 77％ECE(A)+3%TAED+20% sodium perborate /ECE(B) | [16 empty] | Weft1 | [7 empty] | Weft1
detergent, | [5 empty] | cycle, | [5 empty] | dry. | [15 empty] | Weft2 | [7 empty] | Weft2
[28 empty] | Weft3 | [7 empty] | Weft3
Miele: Machine wash at | [6 empty] | °C with | [5 empty] | detergent,using domestic washing machine,Cotton
procedure/Minimum iron procedure/Delicates procedure/Wollens procedure, with 2.0kg total dry
ballast , |  |  |  |  | dry, |  | iron. | [20 empty] | Sample样品 | [7 empty] | Sample样品
[29 empty] | Original |  | After 1 Wash |  | Shrinkage | Average |  |  | Original |  | After 1 Wash |  | Shrinkage | Average
For Esprit: Machine wash at | [8 empty] | °C with Ariel Color Washing Powder/Liquid detergent,using domestic | [19 empty] | (cm) |  | (cm) |  | (%) | (%) |  |  | (cm) |  | (cm) |  | (%) | (%)
washing machine,Normal cycle/Gentle cycle/Wool cycle, | [18 empty] | dry, |  |  |  | iron. hand wash at |  |  |  |  | Warp1 | [7 empty] | Warp1
|  |  | dry, |  | iron. | [22 empty] | Warp2 | [7 empty] | Warp2
[28 empty] | Warp3 | [7 empty] | Warp3
Special Care Instruction | [27 empty] | Weft1 | [7 empty] | Weft1
Dry-cleaning: | [14 empty] | materials | [12 empty] | Weft2 | [7 empty] | Weft2
[28 empty] | Weft3 | [7 empty] | Weft3
Equipment No(设备号)：SFL-NGB-EQP-
Sample样品 | [15 empty] | Sample样品
|  | Original |  |  | After Wash |  |  | Shrinkage |  |  |  |  | Average |  |  |  | Original |  |  | After Wash |  |  |  | Shrinkage |  |  | Average
|  | (cm) |  |  | (cm) |  |  | (%) |  |  |  |  | (%) |  |  |  | (cm) |  |  | (cm) |  |  |  | (%) |  |  | (%)
Warp1
Warp2
Warp3
Weft1
Weft2
Weft3
Sample样品 | [15 empty] | Sample样品
|  | Original |  |  | After Wash |  |  | Shrinkage |  |  |  |  | Average |  |  |  | Original |  |  | After Wash |  |  |  | Shrinkage |  |  | Average
|  | (cm) |  |  | (cm) |  |  | (%) |  |  |  |  | (%) |  |  |  | (cm) |  |  | (cm) |  |  |  | (%) |  |  | (%)
Warp1
Warp2
Warp3
Weft1
Weft2
Weft3
Remark备注: (+) Means Extension伸长 (-) Means Shrinkage收缩
Equipment No(设备号)：SFL-NGB-EQP-

## CFtoWashing&Rubbing&Light
Test Report Number 报告编号: |  |  | 41055
Colour Fastness to Washing 耐洗色牢度
(ISO 105 C06:2010)
Test No.: | ref A2S | ,Machine wash at |  | 30 | ℃ with 4g/l ‘ECE(B)’ detergent and
1g/l Sodium perborate solution and |  |  |  | / | % available chlorine with | 10 | steel balls.
Sample样品 |  |  | A
Change in shade
Staining on Acetate
Cotton
Polyamide(Nylon)
Polyester
Acrylic
Wool
Cross staining
Equipment No设备号: SFL-NGB-EQP-
Colour Fastness to Rubbing耐摩擦色牢度
(ISO 105-X12:2016)
Sample样品 |  |  | A
Dry staining
Wet staining
Equipment No设备号: SFL-NGB-EQP-
Colour Fastness to Light耐光照色牢度
(ISO 105 B02:2014)
Sample 样品 |  |  | A
After | L-5
Grade(B.S.)
After |  | AFU
Class
Equipment No设备号: SFL-NGB-EQP-

## CFtoPerspiration&water&dryclean
Test Report Number 报告编号: | 41055
Colour Fastness to Perspiration 耐汗渍色牢度
(ISO 105 E04:2013)
Acid酸
Sample样品 | A
Change in shade
Staining on Acetate
Cotton
Polyamide(Nylon)
Polyester
Acrylic
Wool
Alkaline碱
Sample样品 | A
Change in shade
Staining on Acetate
Cotton
Polyamide(Nylon)
Polyester
Acrylic
Wool
Equipment No设备号: SFL-NGB-EQP-
Colour Fastness to Water 耐水色牢度
(ISO 105 E01:2013)
Sample样品 | A
Change in shade
Staining on Acetate
Cotton
Polyamide(Nylon)
Polyester
Acrylic
Wool
Equipment No设备号: SFL-NGB-EQP-
Colour Fastness to Dry-cleaning 耐干洗色牢度
Sample样品
Change in shade
Staining on Acetate
Cotton
Polyamide(Nylon)
Polyester
Acrylic
Wool
Equipment No设备号: SFL-NGB-EQP-