## Weight
Test Report Number 报告编号: |  |  | 41636
Fabric Weight Per Unit Area
ISO 3801:1977 Method 5
(g/m2 / oz/yd2)
(g/m / oz/yd)
(g/linear meter)
(g/piece / lb/dozen)
1oz/yd2 =33.91g/m2 |  | 1g/m2 = 0.029493oz/yd2
Sample | Specimen(g/dm2) | [5 empty] | Average (g/dm2)
| #1 | #2 |  | #3 | #4 | #5
A
#:The result for reforence only.
Equipment No: SFL-NGB-EQP-

## Seam Slippage
Test Report Number 报告编号: |  |  | 41636
Seam Slippage
ISO 13936-1:2004
Seam // warp (N)
Seam // weft (N)
Sample Unit(N) |  | Specimen | [5 empty] | Average
|  | # 1 |  | # 2 | # 3 | # 4 | # 5
A | seam // warp
seam // weft
seam // warp
seam // weft
Remarks:
Y.P.O. = Yarns Pull Out; S.T.B. = Sewing Thread Break; F. B. = Fabric Break; FTS=Fabric Tear at Seam
#1: Seam//__warp direction with elastane, the result is for reference only;
#2: Seam//__weft__direction with elastane, the result is for reference only;
*1: Testing sample happened (Y.P.O./S.T.B./F.B./F.T.S) before achieving the (3mm/4mm/6mm/1/4inch ) opening
*2: Testing sample happened (Y.P.O./S.T.B./F.B./F.T.S) before achieving the (3mm/4mm/6mm/1/4inch ) opening
*3: The fabric before achieving the maximum loading, so the width of seam opening can’t be measured,
only reports the break strength;
Equipment No: SFL-NGB-EQP-