## DStoWashing-F
Test Report Number 报告编号: | [8 empty] | 44170
Dimensional Stability to Washing 尺寸稳定性-水洗
AATCC TM 135-2018t
Test No. |  | (1)II |  | , | B |  |  | ,Machine wash at |  |  |  | 80 |  | oF with 4lb loading,
Normal Cycle | [5 empty] | , | Line Dry |  |  |  | , / iron
Hand wash at |  |  |  |  | oF,
Sample 样品 | [6 empty] | A |  |  | A Cool Iron | [5 empty] | B |  |  |  |  | B Cool Iron
Lengthwise经向(%)
Widthwise纬向(%)
Sample样品 |  |  | A | [9 empty] | Sample样品 |  |  |  | A Cool Iron
| Original |  |  | After |  | 3 | Wash |  | Shrinkage | Average |  |  |  |  | Original |  |  | After | 3 | Wash | Shrinkage | Average
| (cm) |  |  | (cm) |  |  |  |  | (%) | (%) |  |  |  |  | (cm) |  |  | (cm) |  |  | (%) | (%)
Weft1 | [12 empty] | Weft1
Weft2 | [12 empty] | Weft2
Weft3 | [12 empty] | Weft3
Warp1 | [12 empty] | Warp1
Warp2 | [12 empty] | Warp2
Warp3 | [12 empty] | Warp3
Sample样品 |  |  | B | [9 empty] | Sample样品 |  |  |  | B Cool Iron
| Original |  |  | After |  | 3 | Wash |  | Shrinkage | Average |  |  |  |  | Original |  |  | After | 3 | Wash | Shrinkage | Average
| (cm) |  |  | (cm) |  |  |  |  | (%) | (%) |  |  |  |  | (cm) |  |  | (cm) |  |  | (%) | (%)
Weft1 | [12 empty] | Weft1
Weft2 | [12 empty] | Weft2
Weft3 | [12 empty] | Weft3
Warp1 | [12 empty] | Warp1
Warp2 | [12 empty] | Warp2
Warp3 | [12 empty] | Warp3
Equipment No(设备号)：SFL-NGB-EQP-

## CFtoWashing&Rubbing&Light
Test Report Number 报告编号: |  |  |  | 44170
Colour Fastness to Washing 耐洗色牢度
AATCC TM61-2013e(2020)e2
Test No.: | ref 2A | ,Machine wash at |  |  | 85 | oF with |  | 0.15 |  | ‘1993 AATCC standard reference
detergent WOB’ and |  | / | % available chlorine with |  |  |  | 50 |  | Steel |  | balls
Sample样品 |  |  |  | A |  | B |  |  | C
Change in shade
Staining on Acetate
Cotton
Polyamide(Nylon)
Polyester
Acrylic
Wool
Cross staining
Equipment No设备号: SFL-NGB-EQP-
Colour Fastness to Rubbing耐摩擦色牢度
AATCC TM8-2016e(2022)e
Sample样品 |  |  |  | A |  | B |  |  | C
Dry staining
Wet staining
Equipment No设备号: SFL-NGB-EQP-
Colour Fastness to Light耐光照色牢度
Sample 样品
After
Grade(B.S.)
After |  | AFU
Class
Equipment No设备号: SFL-NGB-EQP-

## DStoWashing-F (2)
Test Report Number 报告编号: | [8 empty] | 44170
Dimensional Stability to Washing 尺寸稳定性-水洗
AATCC TM 135-2018t
Test No. |  | (1)II |  | , | B |  |  | ,Machine wash at |  |  |  | 80 |  | oF with 4lb loading,
Normal Cycle | [5 empty] | , | Line Dry |  |  |  | , / iron
Hand wash at |  |  |  |  | oF,
Sample 样品 | [6 empty] | C |  |  | C Cool Iron
Lengthwise经向(%)
Widthwise纬向(%)
Sample样品 |  |  | C | [9 empty] | Sample样品 |  |  | C Cool Iron
| Original |  |  | After |  | 3 | Wash |  | Shrinkage | Average |  |  |  |  | Original |  | After | 3 | Wash | Shrinkage | Average
| (cm) |  |  | (cm) |  |  |  |  | (%) | (%) |  |  |  |  | (cm) |  | (cm) |  |  | (%) | (%)
Weft1 | [12 empty] | Weft1
Weft2 | [12 empty] | Weft2
Weft3 | [12 empty] | Weft3
Warp1 | [12 empty] | Warp1
Warp2 | [12 empty] | Warp2
Warp3 | [12 empty] | Warp3
Sample样品 | [12 empty] | Sample样品
| Original |  |  | After |  | 3 | Wash |  | Shrinkage | Average |  |  |  |  | Original |  | After | 3 | Wash | Shrinkage | Average
| (cm) |  |  | (cm) |  |  |  |  | (%) | (%) |  |  |  |  | (cm) |  | (cm) |  |  | (%) | (%)
Weft1 | [12 empty] | Weft1
Weft2 | [12 empty] | Weft2
Weft3 | [12 empty] | Weft3
Warp1 | [12 empty] | Warp1
Warp2 | [12 empty] | Warp2
Warp3 | [12 empty] | Warp3
Equipment No(设备号)：SFL-NGB-EQP-