## TM16
Test Report Number 报告编号:
NEXT TEST METHOD 16 ----Tensile Strength
Tensile Strength--- Instron CRE 1” Grab (Gaugh:75mm,Rate:50mm/min)
Warp/Length (kgf)
Weft/Width (kgf)
Sample Unit(N) |  |  | Specimen
|  |  | # 1 |  |  | # 2 |  | # 3 |  | Average
Seam//Warp(kg)
Seam//Weft(kg)
Seam//Warp(kg)
Seam//Weft(kg)
Load cell: 306kgf/3000N
Equipment No: SFL-NGB-EQP-
Seam Slippage--- Fixed seam 6mm opening
Seam//Warp(kg)
Seam//Weft(kg)
Seam strength
Seam//Warp(kg)
Seam//Weft(kg)
Sample |  |  |  |  | Specimen | [5 empty] | Average
[5 empty] | # 1 |  | # 2 |  | # 3
SL |  | Seam//Warp(kg)
Seam//Weft(kg)
ST |  | Seam//Warp(kg) |  | Data
State
|  | Seam//Weft(kg) |  | Data
State
Load cell: 306kgf/3000N
Remarks:
T.P.O. = Threads Pulled Out; S.T.B. = Sewing Thread Breakdown; F. B. = Fabric Breakdown; FTS=Fabric Tear at Seam
F.T.J.=Fabric Tear at Jaw
*1: Testing sample happened (T.P.O./S.T.B./F.B./F.T.S) before achieving the seam opening
*2: Testing sample happened (T.P.O./S.T.B./F.B./F.T.S) before achieving the seam opening
#1: Seam//__warp direction with elastane, the result is for reference only;
#2: Seam//__weft__direction with elastane, the result is for reference only;
Equipment No: SFL-NGB-EQP-

## TM16a
Test Report Number 报告编号:
NEXT TEST METHOD 16 a----Seam Slippage &Seam Strength on Garment
(Gaugh:100mm,Rate:50mm/min) | [6 empty] | Fabric Weight |  |  | Fixed Load
[7 empty] | < 200g/m² |  |  | 8kg
[7 empty] | > 200g/m² |  |  | 12kg
Sample | Seam slippage (mm) At kgf | [5 empty] | Seam strength (kgf)
| Shell | ( | ) | Lining | ( | ) | Shell | ( | ) | Lining | ( | )
Remarks:
T.P.O. = Threads Pulled Out; S.T.B. = Sewing Thread Breakdown; F. B. = Fabric Breakdown; FTS=Fabric Tear at Seam
F.T.J.=Fabric Tear at Jaw
*1：The fabric________before achieving the maximum loading, so the width of seam opening can’t be measured, only reports the break strength.
Equipment No: SFL-NGB-EQP-

## TM17
Test Report Number 报告编号:
NEXT TEST METHOD 17 ----Tearing Strength( Elmendorf tear 1600g/B )
Warp/Length (gf)
Weft/Width (gf)
Sample Unit(N) |  | Specimen
|  | # 1 | # 2 | # 3 | Average
Warp yarns torn(gf)
Weft yarns torn(gf)
Warp yarns torn(gf)
Weft yarns torn(gf)
Note:Warp test - test in which the warp yarns are torn.Weft test - test in which the weft yarns are torn.
Equipment No: SFL-NGB-EQP-

## TM18-TM18a
Test Report Number 报告编号:
NEXT TEST METHOD 18 ----Abrasion Resistance (9kPa)
Sample | # 1 |  | # 2 |  |  | # 3 |  | Average
Endpoints(revolutions)
Colour Change after 5000 revolutions | # 4
Equipment No: SFL-NGB-EQP-
NEXT TEST METHOD 18a ----Abrasion Resistance (12kPa)
Method (I)----Three thread breakdown |  |  |  | Cycle：20000 revs
Sample | # 1 |  | # 2 |  |  | # 3 |  | Average
Endpoints(revolutions)
Appearance Change after 10000 revolutions | # 4
Remark: Appearance change: 1.slight 2.severe 3.distinct
Equipment No: SFL-NGB-EQP-
Method(II)----Change in color and appearance
The worst color change and appearance change of 4 specimens
Sample | # 1 | # 2 |  |  | # 3 |  | # 4 |  | The Worst
Colour Change after 6000 revolutions
Appearance Change after 6000 revolutions
Remark: Appearance change: 1.slight 2.severe 3.distinct
Equipment No: SFL-NGB-EQP-

## TM19
Test Report Number 报告编号:
NEXT TEST METHOD 19 ---- Pilling Resistance(ICI Pilling)
| Original sample |  |  |  | After washing sample |  |  |  | After dry cleaning sample
Cycle：
The presence debris in the box □YES □NO
Sample |  | #1(length) |  |  |  | #2(width) |  | #3(length) |  |  | #4(width) |  |  | Average
Rating:
Comment:
Remark:
Note |  |  | Rating |  |  | Comment
A |  |  | 5 |  |  | No visible change
B |  |  | 4/5 |  |  | Better than slight surface fuzzing or matting, no fully formed pills evident
C |  |  | 4 |  |  | Slight surface fuzzing or matting, no fully formed pills evident
D |  |  | 3-4 |  |  | Better than moderate fuzzing or matting, isolated fully formed pills
E |  |  | 3 |  |  | Moderate fuzzing, isolated fully formed pills/moderate matting
F |  |  | 2-3 |  |  | Better than distinct fuzzing and / or pilling and/or matting
G |  |  | 2 |  |  | Distinct fuzzing and / or pilling and/or matting
H |  |  | 1-2 |  |  | Better than dense fuzzing and / or pilling and/or matting which covers the specimen
I |  |  | 1 |  |  | Dense fuzzing and / or pilling and/or matting which covers the specimen
Remark:洗前2条订样；洗后1条订样
Appearance change after washing/dry cleaning: | [7 empty] | □ Slight fuzzing or pilling/mattting
□ Moderate fuzzing or pilling/matting
□ Severe fuzzing or pilling/matting
Washing Procedure：
Procedure No: |  |  |  | Using horizontal axis, front-loading type machine: Machine wash at
degree C with _2.0_ kg total dry mass ( | [11 empty] | + specimen) and
20g ECE(A)+ 5g sodium perborate, | [9 empty] | , |  |  | .
Dry-cleaning：
Commercial dry-cleaning： | [6 empty] | materials
Equipment No: SFL-NGB-EQP-

## TM21
Test Report Number 报告编号:
NEXT TEST METHOD 21----Extension and Modulus(>10% Elastance)
Load: |  | kgf
Warp/Wale Elongation(%)
Weft/Course Elongation(%)
Sample |  |  |  | # 1 | # 2 | # 3 | Average
Warp/Wale Elongation (%)
Weft/Course Elongation (%)
Warp/Wale Elongation (%)
Weft/Course Elongation (%)
Extension: |  |  | %
Warp/Wale Modulus(gf)
Weft/Course Modulus(gf)
Sample |  |  |  | # 1 | # 2 | # 3 | Average
Warp/Wale Modulus(gf)
Weft/Course Modulus(gf)
Warp/Wale Modulus(gf)
Weft/Course Modulus(gf)
Equipment No: SFL-NGB-EQP-

## TM21a
Test Report Number 报告编号:
NEXT TEST METHOD 21a----Extension and Recovery(≤10% Elastance)
Load: |  | kgf
Warp/Wale Elongation(%)
Weft/Course Elongation(%)
Sample |  |  |  | # 1 | # 2 | # 3 | Average
Warp/Wale Elongation (%)
Weft/Course Elongation (%)
Warp/Wale Elongation (%)
Weft/Course Elongation (%)
Warp/Wale Recovery after 1 min(%)
Weft/Course Recovery after 1 min(%)
Sample |  |  |  | # 1 | # 2 | # 3 | Average
| Extention (mm) |  | Warp/Wale
Weft/Course
| Recovery (%) |  | Warp/Wale
Weft/Course
| Extention (mm) |  | Warp/Wale
Weft/Course
| Recovery (%) |  | Warp/Wale
Weft/Course
Remark: Woven fabric 4.0kgf Knitted fabric 2.0kgf
Equipment No: SFL-NGB-EQP-
Recovery100
Recovery=(80-(measured length-80))/80×100

## TM22-TM23
Test Report Number 报告编号:
NEXT TEST METHOD 22----- BURSTING STRENGTH
Diameter: | 30.5mm
Average Bursting Strength (kPa):
Range of Results (Minimum and Maximum result in kPa) :
Pressure Correction Applied (kPa):
Sample | Specimen(kPa) | [12 empty] | Average (kPa)
| #1 |  |  | #2 |  | #3 |  | #4 |  |  | #5
#: The stretch of the fabric exceeds the dimension limitation of the tester.
Equipment No: SFL-NGB-EQP-
NEXT TEST METHOD 23----Spray Test
Sample |  | Original specimen |  |  |  |  | After |  | washing specimen
|  | # 1 |  |  | # 2 |  | # 1 |  |  | # 2
Washing Procedure：
Procedure No: |  |  | Using horizontal axis, front-loading type machine: Machine wash at
degree C with _2.0_ kg total dry mass ( | [11 empty] | + specimen) and
20g ECE(A)+ 5g sodium perborate, | [8 empty] | , |  |  |  | .
Commercial dry-cleaning： | [5 empty] | materials
Equipment No: SFL-NGB-EQP-

## TM25-TM20
Test Report Number 报告编号:
NEXT TEST METHOD 25 ----Tearing Strength(wing-rip method)
Warp/length yarns torn (kgf)
Weft/width yarns torn (kgf)
| Sample |  |  | # 1 |  | # 2 |  | # 3 | Average
3 median result | Warp yarns torn(kgf)
Weft yarns torn(kgf)
3 maximun result | Warp yarns torn(kgf)
Weft yarns torn(kgf)
Note:Warp test - test in which the warp yarns are torn.Weft test - test in which the weft yarns are torn.
Equipment No: SFL-NGB-EQP-
NEXT TEST METHOD 20----Weight
(g/m2) |  |  | *nearest 0.1g/m2
Specimen |  | Number of samples |  |  | Total (g) |  | Ave(g/dm2)
#:The result for reference only.
Equipment No: SFL-NGB-EQP-

## TM26
Test Report Number 报告编号:
NEXT METHOD 26 ---- Swiss Pilling(Martindale Pilling)
| Original sample |  |  | After washing sample |  |  |  | After dry cleaning sample
Assessment-Change in appearance of the washed/dry cleaned sample:
Movement
Rating
Comment
Remark:
Note |  | Rating |  |  | Comment
A |  | 5 |  |  | No visible change
B |  | 4/5 |  |  | Better than slight surface fuzzing or matting, no fully formed pills evident
C |  | 4 |  |  | Slight surface fuzzing or matting, no fully formed pills evident
D |  | 3-4 |  |  | Better than moderate fuzzing or matting, isolated fully formed pills
E |  | 3 |  |  | Moderate fuzzing, isolated fully formed pills/moderate matting
F |  | 2-3 |  |  | Better than distinct fuzzing and / or pilling and/or matting
G |  | 2 |  |  | Distinct fuzzing and / or pilling and/or matting
H |  | 1-2 |  |  | Better than dense fuzzing and / or pilling and/or matting which covers the specimen
I |  | 1 |  |  | Dense fuzzing and / or pilling and/or matting which covers the specimen
Appearance change after washing/dry cleaning: | [6 empty] | □ Slight fuzzing or pilling/mattting
□ Moderate fuzzing or pilling/matting
□ Severe fuzzing or pilling/matting
Washing Procedure：
Procedure No: |  |  | Using horizontal axis, front-loading type machine: Machine wash at
degree C with _2.0_ kg total dry mass ( | [9 empty] | + specimen) and
20g ECE(A)+ 5g sodium perborate, | [8 empty] | , |  | .
Dry-cleaning：
Commercial dry-cleaning： | [5 empty] | materials
Equipment No: SFL-NGB-EQP-

## TM31
Test Report Number 报告编号:
NEXT TEST METHOD 31----Accelerotor Pile Loss
(Velocity of rotor rpm, Abrading period of time-- ___min. Ceramic abrasive lining ring)
Weight Loss(%):
Appearance Change:
Original:
Sample |  |  | Specimen 1 |  | Specimen 2 |  | Specimen 3
Original Weight (g)
Weight after Wash (g)
Weight loss (g)
Average Weight Loss(%)
Original:
Sample |  |  | Specimen 1 |  | Specimen 2 |  | Specimen 3
Original Weight (g)
Weight after Wash (g)
Weight loss (g)
Average Weight Loss(%)
After 1 washing(dry cleaning):
Sample |  |  | Specimen 1 |  | Specimen 2 |  | Specimen 3
Original Weight (g)
Weight after Wash (g)
Weight loss (g)
Average Weight Loss(%)
After 1 washing(dry cleaning):
Sample |  |  | Specimen 1 |  | Specimen 2 |  | Specimen 3
Original Weight (g)
Weight after Wash (g)
Weight loss (g)
Average Weight Loss(%)
Grade
Negligible | change in appearance or loss of pile.
Slight | change in appearance or loss of pile.
Moderate | change in appearance or loss of pile.
Severe | change in appearance or loss of pile.
*Original weight---A Weight after wash---AA Weight of fiber remove---A-AA
Weight loss---(A-AA)/A*100
Washing Procedure：
Procedure No: |  | Using horizontal axis, front-loading type machine: Machine wash at
degree C with _2.0_ kg total dry mass ( | [7 empty] | + specimen) and
20g ECE(A)+ 5g sodium perborate, | [5 empty] | , |  |  | .
Dry-cleaning：
Commercial dry-cleaning： |  |  |  | materials
Equipment No: SFL-NGB-EQP-

## TM42
Test Report Number 报告编号:
NEXT TEST METHOD 42 ---- Attachment Strength of Button
Attachment Strength： | [7 empty] | Sample
Sample Size:
Specimens | Button1 |  | Button2 |  | Button3 |  | Button4 |  |  | Button5
Result(kg)
Result(N)
Specimens | Button6 |  | Button7 |  | Button8 |  | Button9 |  |  | Button10
Result(kg)
Result(N)
Specimens | Button11 |  | Button12 |  | Button13 |  | Button14 |  |  | Button15
Result(kg)
Result(N)
Equipment No:SFL-NGB-EQP-
NEXT TEST METHOD 42 ---- Attachment Strength of Snap
Sample Size:
Specimens | Snap1 |  | Snap2 |  | Snap3 |  | Snap4 |  |  | Snap5
| Male | Female | Male | Female | Male | Female | Male |  | Female | Male | Female
Result(kg)
Result(N)
Specimens | Snap6 |  | Snap7 |  | Snap8 |  | Snap9 |  |  | Snap10
| Male | Female | Male | Female | Male | Female | Male |  | Female | Male | Female
Result(kg)
Result(N)
Specimens | Snap11 |  | Snap12 |  | Snap13 |  | Snap14 |  |  | Snap15
| Male | Female | Male | Female | Male | Female | Male |  | Female | Male | Female
Result(kg)
Result(N)
Equipment No:SFL-NGB-EQP-
Remark: S.B.D—Snap Break Down S.T.B—Sewing Thread Break F.B—Fabric Break
Requirement: Snaps/button shall not detach under a force of 50N±2N /90 N±2N held for a duration of 10 sec.
Conclusion: The submitted sample( ) comply /  does not comply with the requested test requirements.
Remarks: Apply a force of
-50N±2N: When the largest accessible dimension is 6mm or less;
-90 N±2N: When the largest accessible dimension is greater than 6mm.

## TM58
Test Report Number 报告编号:
NEXT TEST METHOD 58 ---- Moisture Management
Part 1 – Evaporation
Evaporation(%)
Original:
Sample | A(Dry weight) |  | B(Wet weight) | C(5min) |  | C(10min) |  | C(15min) |  | C(20min) |  | C(25min) | C(30min)
Speciment 1
Evaporation(%) | / |  | /
Speciment 2
Evaporation(%) | / |  | /
Speciment 3
Evaporation(%) | / |  | /
Average Evaporation(%) | / |  | /
A = Weight of petri Dish, dry specimen, and edge ring.
B = Weight of petri Dish, water, specimen and edge ring at immediate start of test.
C = Weight of petri Dish, water, specimen and edge ring at each 5 minute interval.
Evaporation(%) = (B-C)/(B-A)×100%
Part 2 – Wicking
Warp/length(mm)
Weft/width(mm)
Original:
Sample |  | Specimen 1 |  |  | Specimen 2 |  |  |  | Average
Warp/length(mm)
Weft/width(mm)
Equipment No: SFL-NGB-EQP-
Test Report Number 报告编号:
NEXT TEST METHOD 58 ---- Moisture Management
Part 1 – Evaporation
Evaporation(%)
After 10 washing(dry cleaning):
Sample | A(Dry weight) |  | B(Wet weight) | C(5min) |  | C(10min) |  | C(15min) |  | C(20min) |  | C(25min) | C(30min)
Speciment 1
Evaporation(%) | / |  | /
Speciment 2
Evaporation(%) | / |  | /
Speciment 3
Evaporation(%) | / |  | /
Average Evaporation(%) | / |  | /
A = Weight of petri Dish, dry specimen, and edge ring.
B = Weight of petri Dish, water, specimen and edge ring at immediate start of test.
C = Weight of petri Dish, water, specimen and edge ring at each 5 minute interval.
Evaporation(%) = (B-C)/(B-A)×100%
Part 2 – Wicking
Warp/length(mm)
Weft/width(mm)
After 10 washing(dry cleaning):
Sample |  | Specimen 1 |  |  | Specimen 2 |  |  |  | Average
Warp/length(mm)
Weft/width(mm)
Equipment No: SFL-NGB-EQP-
Washing Procedure：
Procedure No: |  | Using horizontal axis, front-loading type machine: Machine wash at
degree C with _2.0_ kg total dry mass ( | [10 empty] | + specimen) and
ECE(A)+ sodium perborate, | [6 empty] | , |  |  | .
Dry-cleaning：
Commercial dry-cleaning： |  |  |  |  | materials

## TM59
Test Report Number 报告编号:
NEXT TEST METHOD 59 ---- Snagging Resistance
Sample |  | Grade |  | Type Defect
Direction
Warp
Warp
Weft
Weft
Remarks:
Grade | Description |  | Appearance
5 | None |  | No snags or other defects
4 | Slight |  | Snags or other surface defects in isolated areas
3 | Moderate |  | Snags or other surface defects partially covering the surface
2 | Distinct |  | Snags or other surface defects covering a large proportion of the surface
1 | Severe |  | Snags or other surface defects covering the entire surface
Typr of Defect |  |  | Definition
Snagging |  |  | Undesirable loop on the surface of a fabric
Protrusions |  |  | Partially formed snag
Indentations |  |  | Concave distortion of the surface of a fabric
Shiners, pulled threads, any other distortion |  |  | A thread that is tighter than the threads around it
Filamentation |  |  | Filamentation Hairy appearance due to broken filamentation
Equipment No: SFL-NGB-EQP-

## TM62
Test Report Number 报告编号:
NEXT TEST METHOD 62----Mass Per Unit Length
(g/m2 / oz/yd2)
(g/m / oz/yd)
(g/linear meter)
(g/piece / lb/dozen)
1oz/yd2 =33.91g/m2 |  | 1g/m2 = 0.029493oz/yd2
Sample | Specimen(g/dm2) |  |  |  |  | Average (g/dm2)
| #1 | #2 | #3 | #4 | #5
#:The result for reforence only.
Equipment No: SFL-NGB-EQP-

## TM63
Test Report Number 报告编号:
NEXT TEST METHOD 63 ---- Fabric Width
Including Selvages (m/cm/mm/yd)
Excluding Selvages (m/cm/mm/yd)
Sample |  | Specimen |  |  |  |  | Avarage（mm）
|  | #1 | #2 | #3 | #4 | #5
Including Selvages
Excluding Selvages
Including Selvages
Excluding Selvages
Including Selvages
Excluding Selvages
Including Selvages
Excluding Selvages
Equipment No: SFL-NGB-EQP-

## TM64-TM65
Test Report Number 报告编号:
NEXT TEST METHOD 64/65 ---- Course and Wales / Ends & Picks
(Threads/Stitches Per Inch/cm)
Warp end count/Warp end/Lengthwise/ Wales 3 cm / inch
Filling pick count/Weft pick/Widthwise/ courses 3 cm / inch
Sample |  | Specimens | [6 empty] | Ave./cm
|  | #1 | #2 | #3 | #4 | #5 | Ave. | Distance(cm)
Warp / Wales
Weft / Courses
Warp / Wales
Weft / Courses
Equipment No:SFL-NGB-EQP-

## Water Resistance
Test Report Number 报告编号:
Water Resistance
Hydrostatic Head(BS EN 20811:1992(R1996))
Hydrostatic Head; Rate of increase of water pressure: 10 cm/min & 60cm/min, temp of distilled
water: 20ºC, face side facing water.
Original |  |  |  | 5000 |  | mmH2O |  |  |  |  | 1mbar=10.2mmH2O
Sample | Unit |  | Specimen | [10 empty] | Avarage
|  |  | #1 |  | #2 |  |  | #3 |  | #4 |  | #5
(mbar)
(mmH2O)
(mbar)
(mmH2O)
(mbar)
(mmH2O)
After 1 washing(dry cleaning) |  |  |  | 5000 |  | mmH2O |  |  |  |  | 1mbar=10.2mmH2O
Sample | Unit |  | Specimen | [10 empty] | Avarage
|  |  | #1 |  | #2 |  |  | #3 |  | #4 |  | #5
(mbar)
(mmH2O)
(mbar)
(mmH2O)
(mbar)
(mmH2O)
Remark:
No water leakage occurred on the specimen. Further increase of water pressure was restricted by
inherent nature of tested specimen.
Water leakage occurred between two fabric layers. Further increase of water pressure was restricted.
Water leakage occurred below the test specimens. Further increase of water pressure was restricted.
Water leakage occurred at the clamp edge. Further increase of water pressure was restricted.
Fabric rupture.
Washing Procedure：
Procedure No: |  | Using horizontal axis, front-loading type machine: Machine wash at
degree C with _2.0_ kg total dry mass ( | [11 empty] | + specimen) and
20g ECE(A)+ 5g sodium perborate, | [8 empty] | , |  |  |  | .
Dry-cleaning：
Commercial dry-cleaning： | [6 empty] | materials
Equipment No: SFL-NGB-EQP-

## Air Permeability
Test Report Number 报告编号:
Air Permeability
Test pressure： |  |  | Pa
Test area： |  |  | sq. cm.
Permeability(mm/s)：
CV(%):
(Unit: | ）
Specimen 1
Specimen 2
Specimen 3
Specimen 4
Specimen 5
Specimen 6
Specimen 7
Specimen 8
Specimen 9
Specimen 10
Average
CV%
Notes：
Standards |  | Test area (cm2) |  | Test Pressure (Pa) |  |  |  | Unit of measure
ISO 9237 |  | 20 |  | Apparel fabrics |  |  | 100 | mm/s
|  |  |  | Industrial fabrics |  |  | 200
Washing Procedure：
Procedure No: |  | Using horizontal axis, front-loading type machine: Machine wash at
degree C with _2.0_ kg total dry mass ( | [8 empty] | + specimen) and
20g ECE(A)+ 5g sodium perborate, | [5 empty] | , |  |  |  | .
Dry-cleaning：
Commercial dry-cleaning： |  |  |  |  | materials
Equipment No: SFL-NGB-EQP-

## Yarn count
Test Report Number 报告编号:
Yarn Count
Warp (Tex)
Weft (Tex)
Knit (Tex)
Sample |  | Warp |  | Weft
Length: |  | #1 | #2 | #1 | #2 | #3 | #4 | #5
1.(cm)
2.(cm)
3.(cm)
4.(cm)
5.(cm)
6.(cm)
7.(cm)
8.(cm)
9.(cm)
10.(cm)
Average(cm)
Mass(g/50)
Tex
Note:
Tex= | Mass÷50×1000
Average Length÷100
Equipment No: SFL-NGB-EQP-